Specifications

Voltage Requirement: 220V/115V (+ or -10%), 50-60 Hz

Power Requirement: 0.3amps (30 Watts)

Range

-Average Particle Diameter: 0.2 to 50 microns (um)

-Porosity: 0.25-0.40/0.40-0.80/0.80-0.95

Repeatability:<3%

Accuracy: <3%

Test Method: Air permeability

Shipping Weight: 18kg (38 lb.)

Instrument Dimensions: 41.8cm W x 24.6cm D x 73.7cm H

Back To HMK-22 FSSS